## Calculator
PEI Treatment System Calculator for Missouri
(residential strength wastewater only)
November 2022 Edition | Daily Design Flow in Gallons per Day = | N
| Bedrooms = | 3
| Soil Scientist Loading Rate = | 0.25 | GPD/SF | Presby Products | [8 empty] | T/F | SLR | SSBA
| PEI Soil Loading Rate (approximate) = | 0.25 | GPD/SF | Pipe being used = |  |  |  | 210 | ft |  | 1171.5 | ft³ sand |  | ≥0.3
| System Slope = | 0 | % | Offset Adapters = |  |  |  | 6 | total |  | 164.9336 | ft³ pipe volume | 1 | 0.1-0.29 | 1440
| Row Length = | 70 | ft | Couplings = |  |  |  | 18 | total
| Center-to-Center Row Spacing = | 1.5 | ft | Copy the items above and Paste them into and email to request a quation. Press the button below to open your email program. | [6 empty] | 20.5 | = minimum dispersal area width
| AES Pipe Required minimum = | 210 | ft | [6 empty] | 0 | 0 | = Sloping SSE >0 but <=5%
| Daily Design Flow = | 360 | GPD | [6 empty] | 0 | 0 | = Sloping SSE>5%
| Sand Bed Area Required = | 1440 | sq ft | [6 empty] | 1 | 7.75 | = level system sand extension
| Sand Bed Area Provided = | 1455.5 | sq ft | Request a Quotation | [6 empty] | 20.5 | = sand bed width
| Number of Rows = | 3 | [8 empty] | 7.75 | SSE
| Pipe Layout Width = | 4 | ft
| Sand Bed Length = | 71 | ft
| Treatment Area Width (Tall Portion) = | 5 | ft
| Sand Bed Width = | 20.5 | ft min
| System Sand Extension = | 7.75 | ft
| System Sand needed = | 38 | ±yds³
| Plan View (not to scale) |  |  |  | Section View (not to scale)
| <-------------------------------- 70' -------------------------------> |  |  |  |  | <----5'---->
[5 empty] | 7.75' |  |  |  | 7.75'
(3) rows
<----20.5'---->

## GPD (hidden)
Bedrooms | GPD
2 | 240
3 | 360
4 | 480
5 | 600
6 | 720
7 | 840
8 | 960
9 | 1080
10 | 1200

## RowLgth (hidden)
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100

## Sys % Slope (hidden)
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25